# Bilingualer Fachunterricht an berufsbildenden Schulen

Unterrichtsmodul

Berufsfeld:  	Elektrotechnik

Beruf: 		Elektroniker

ELECTRICAL INSTALLATION

ACTION PROGRAMME OF THE EUROPEAN UNION

LEONARDO DA VINCI

PROJEKT NO.: 2002 LA 112 628 BILVOC

Language Competence Through

Bilingual Teaching at Vocational Colleges

###### Teaching Modules

Date of production			09/2005

Subject:					Electrical technology

Topic:					Safety First

Title: 						electrical installation

Target Group: 				Any group of electrical engineering students

Prior Knowledge:				Basic of electrical engineering

Level of Language Skills:		Waystage (A2)

Follow - Ups:		 		Experiments on safety precautions

Objectives:					Importance of precautions

Benefits:		The danger of electricity and protection from

electric shock

Teaching Module: electrical installation

| Teaching Time (experience) | Contents | Activities | Media | Skills |
| --- | --- | --- | --- | --- |
| 30 minutes 15 minutes 45 minutes 25 minutes 20 minutes 60 minutes 60 minutes 15 miutes | ### Safety First Safety Signs Electrical shock Cause and effect First Aid electrical installation Symbols Installation diagram practice evaluation | Discussion with the student about the worksheet Check unknown words using the dictionary Individual work Work out the contents in 3 groups, Group presents the summarised contents Individual work Information given by the teacher Students drawing symbols Drawing the diagrams Connect the circuits using the board Write down the results evaluation of the material Write definitions | Board, worksheet dictionary transparency worksheet Board, transparency and worksheet transparency transparency electrical board paper paper | Questions and answers and classroom discussion working independently giving exact explanation expressing and accepting objective criticism Questions and answers; classroom discussion working indepentently drawing indepentently working with electrical board |
| 270 minutes |  |  |  |  |

ELECTRICAL INSTALLATION

Safety First

1. Better safe than sorry !!

- If a current of more than 50 mA flows through the body, brain functions are disturbed.

- Even a weak current of just over 50 mA can kill if it flows through the heart.

- If the current is greatly in excess of 50 mA, it becomes impossible to let go of the conductor, ie to break the circuit

For safety  at work check that

Five rules for safe electrical work:

Freischalten					→	switch off electricity

Gegen Wiedereinschalten sichern	→	ensure that electricity cannot be

switched on again

Spannungsfreiheit feststellen		→	double check that no electrical

current is flowing

Erden und kurzschließen		→	ground the circuit

Abschranken, abdecken, (benachbarter)→ 	cover or otherwise isolate

unter Spannung stehender Teile			components that are still

electrically active

Safety Signs

Warning Signs - Category II or III holding positions sign

- Don`t switch on

- Don`t touch

- Don`t fight fire with water

- Danger laser beam

- Danger magnetic field

- Danger battery

- Danger high voltage

2. Electrical shock

2.1. Cause and effect

Read the text about the effects of electric shock. Then look at the statements next to the text and tick the right ones.

Effects: An electric current passing through the body causes electric shock. Electrical shock especially affects the heart (upsetting its rhythm and the flow of blood), the muscles and the nervous system. The severity depends on the strength of the current.  And the time for which it passes, although age. general health and moistness of the skin are also factors.

The strength of the current depends on the voltage applied to the body and its resistance. The latter may exceed 10 kΩ or it might be less than 1.5 kΩ if the skin is moist. If the voltage is 240 V and the body resistance 1.5 kΩ, the current through someone directly in contact with the earth is 240 V/1.5 kΩ = 160 mA (which would be fatal). The current is less (e.g. 50 mA) because the resistance of the tiles and the wood floor has to be added to that of the body but a severe shock would still be obtained.

Fatal shock							Severe shock

Electric shock

o is caused by electric current.

o upsets the rhythm of the heart.

o causes muscle cramps.

o affects the nervous system.

Electric shock is more severe

o the higher the current is.

o the longer voltage is applied.

o the older the person is.

o the lower the body resistance is.

### The value of the current depends

o on the voltage.

o on the body resistance.

o on the person is.

o on where the person stands.

2.2. First aid

First aid is essential in case of electric shock. Breathing must be restored, or death will result. The following procedure should be followed.

a) 	Switch off the supply

b) 	If this cannot be done, drag or push the victim away from the live wire, using an insulator!

c) 	Send for medical help immediately.

d) 	Apply artificial respiration until help arrives.

This must be continued even if it is for a long period.

- Help

Look at the following words.

o accident            	o apply

o address            	o electric shock

o ambulance          	o unconscious

o artificial respiration

Listen to the telephone call and tick the words when you hear them.

Listen again and complete the bubbles.

A colleague at work just had………………………………………………………………..

He’s suffering from…………………………………………………………………………

Try …………………………………………………………………………………………

We’ ll send an……………………………………………………………………………..

# Get an ambulance

You are working in your company and, suddenly, a colleague next to you suffers an electric shock.Work in groups of 3 or 4. One is calling for help. the others give first aid.

3. Installation  Symbols

Chek the vocabulary

What do to following symbols mean in english?

a)		b)		c)		d)		e)			f)

- electrical installation

The wire

Low resistance earth wire 	→	green/yellow

Live or positive wire		→	brown

Neutral wire				→	blue

4.1. Ausschaltung	→		one way circuit

Stromlaufplan		schematic diagram

Installationsplan	architectural diagram

Child´s room

4.2. Serienschaltung		→	series-parallel connection

Stromlaufplan		schematic diagram

Installationsplan	architectural diagram

Living room

4.3 Wechselschaltung	→ 	 two way circuit

Stromlaufplan		schematic diagram

Installationsplan	architectural diagram

Hallway

4.4 Kreuzschaltung	→ 	cross conection

Stromlaufplan		schematic diagram

Installationsplan	architectural diagram

Bedroom

Words:

socket			Steckdose

Child room

junction box		Abzweigdose

puch button switch	Taster

circuit			Stromkreis